## Sheet1
Publication (Citation) | Data contributor | Year | Season | Koppen climate classification | Climate | City | Country | Building type | Cooling startegy_building level | Cooling startegy_operation mode for MM buildings | Heating strategy_building level | Age | Sex | Thermal sensation | Thermal sensation acceptability | Thermal preference | Air movement acceptability | Air movement preference | Thermal comfort | PMV | PPD | SET | Clo | Met | activity_10 | activity_20 | activity_30 | activity_60 | Air temperature (C) | Air temperature (F) | Ta_h (C) | Ta_h (F) | Ta_m (C) | Ta_m (F) | Ta_l (C) | Ta_l (F) | Operative temperature (C) | Operative temperature (F) | Radiant temperature (C) | Radiant temperature (F) | Globe temperature (C) | Globe temperature (F) | Tg_h (C) | Tg_h (F) | Tg_m (C) | Tg_m (F) | Tg_l (C) | Tg_l (F) | Relative humidity (%) | Humidity preference | Humidity sensation | Air velocity (m/s) | Air velocity (fpm) | Velocity_h (m/s) | Velocity_h (fpm) | Velocity_m (m/s) | Velocity_m (fpm) | Velocity_l (m/s) | Velocity_l (fpm) | SubjectÂ«s height (cm) | SubjectÂ«s weight (kg) | Blind (curtain) | Fan | Window | Door | Heater | Outdoor monthly air temperature (C) | Outdoor monthly air temperature (F) | Database
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | -0.5 | 1 | warmer | 1 | no change | 5 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 162 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | -2.1 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 154 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Male | 0.5 | 1 | no change | 1 | more | 6 | NA | NA | NA | 0.27 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 173 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | -2.5 | 0 | no change | 1 | less | 4 | NA | NA | NA | 0.23 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 167 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Male | -0.5 | 1 | no change | 1 | no change | 6 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 178 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | 1 | 1 | no change | 0 | no change | 1 | NA | NA | NA | 0.23 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Male | -1 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.27 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | -1.5 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.43 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 150 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | -3 | 0 | cooler | 1 | no change | 3 | NA | NA | NA | 0.3 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 157 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 13 | Male | 0 | 1 | no change | 1 | more | 5 | NA | NA | NA | 0.27 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 174 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | -0.5 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.27 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 175 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | 1 | 1 | no change | 1 | more | 5 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 160 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | 0.5 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.52 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 160 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | 0 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.24 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | -2.5 | 1 | cooler | 1 | no change | 4 | NA | NA | NA | 0.27 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 160 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | -2 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.41 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 154 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Male | -2 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 155 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Male | -0.5 | 1 | warmer | 0 | more | 4 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 162 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | -2 | 1 | no change | 1 | less | 3 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | NA | NA | NA | NA | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | NA | NA | NA | NA | 50.2 | NA | NA | 0.06 | 11.81 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 15 | Female | -2 | 0 | cooler | 1 | no change | 3 | NA | NA | NA | 0.43 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 150 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | 0 | 1 | warmer | 1 | more | 5 | NA | NA | NA | 0.3 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 161 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | 0.5 | 1 | no change | 1 | more | 4 | NA | NA | NA | 0.41 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 153 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | -1 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 155 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | 0 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.64 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 161 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | 0 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.66 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 168 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Male | -1 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 185 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 13 | Male | -1.5 | 1 | cooler | 1 | no change | 2 | NA | NA | NA | 0.27 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 165 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Male | -0.5 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.25 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 170 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 51 | Male | 0.5 | 1 | no change | 0 | more | 5 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 169 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 13 | Female | -0.2 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.41 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Summer | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Air Conditioned | NA | NA | 14 | Female | -1 | 1 | cooler | 1 | no change | 5 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 23.6 | 74.4 | 23.6 | 74.4 | NA | NA | NA | NA | NA | NA | NA | NA | 24.4 | 75.8 | 24.4 | 75.8 | NA | NA | NA | NA | 51.5 | NA | NA | 0.1 | 19.69 | NA | NA | NA | NA | NA | NA | 151 | NA | NA | NA | NA | NA | NA | 25 | 77 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -1 | 1 | no change | 1 | no change | 3 | NA | NA | NA | 0.49 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 155 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -2 | 1 | no change | 1 | more | 5 | NA | NA | NA | 0.45 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 167 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -3 | 0 | warmer | 1 | no change | 3 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 165 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -1 | 1 | no change | 1 | no change | 3 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 158 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -0.5 | 1 | cooler | 0 | more | 1 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -1 | 1 | cooler | 0 | more | 4 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 135 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 1.5 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.33 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 162 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 1.5 | 0 | cooler | 0 | more | 4 | NA | NA | NA | 0.24 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 130 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 13 | Male | -1 | 1 | cooler | 0 | more | 1 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 168 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 0.5 | 0 | cooler | 0 | more | 3 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 173 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 13 | Male | -2.5 | 1 | warmer | 1 | no change | 2 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 165 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -1 | 0 | cooler | 1 | no change | 3 | NA | NA | NA | 0.56 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -2 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.24 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 164 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -2 | 1 | no change | 1 | no change | 3 | NA | NA | NA | 0.69 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 151 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -1 | 1 | no change | 1 | no change | 3 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 160 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -1.5 | 1 | warmer | 1 | less | 4 | NA | NA | NA | 0.39 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 161 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | 2.5 | 0 | cooler | 0 | less | 3 | NA | NA | NA | 0.52 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 156 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 2.5 | 1 | cooler | 0 | more | 2 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 170 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | 1.5 | 0 | cooler | 0 | more | 3 | NA | NA | NA | 0.42 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 159 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -1 | 1 | no change | 1 | no change | 3 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 145 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -2 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 175 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -2 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 157 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -0.5 | 1 | cooler | 0 | more | 3 | NA | NA | NA | 0.26 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 159 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 0 | 0 | cooler | 0 | no change | 5 | NA | NA | NA | 0.33 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 163 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 2.5 | 1 | cooler | 1 | no change | 2 | NA | NA | NA | 0.44 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 167 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -1 | 1 | cooler | 1 | no change | 4 | NA | NA | NA | 0.26 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 173 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -2 | 1 | no change | 1 | no change | 5 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 162 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -0.5 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 162 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | 1.5 | 1 | cooler | 0 | more | 5 | NA | NA | NA | 0.64 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 168 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | NA | 0 | 0 | cooler | 0 | no change | 6 | NA | NA | NA | 0.34 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 158 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -1 | 0 | cooler | 0 | more | 3 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 150 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | 1 | 1 | cooler | 0 | more | 5 | NA | NA | NA | 0.52 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 158 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -0.3 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 150 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | -1 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.39 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 155 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Male | 1.3 | 1 | no change | 0 | more | 3 | NA | NA | NA | 0.49 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 150 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 48 | Male | 1 | 0 | cooler | 0 | more | 3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 180 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | 0 | 0 | no change | 1 | no change | 3 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 161 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 13 | Female | 0 | 1 | no change | 0 | more | 2 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 160 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -0.5 | 1 | cooler | 0 | more | 4 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 159 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | -1.8 | 1 | no change | 1 | no change | 4 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 152 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 13 | Female | 0.5 | 1 | no change | 0 | more | 2 | NA | NA | NA | 0.45 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 147 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 14 | Female | 1 | 1 | NA | 0 | no change | 4 | NA | NA | NA | 0.46 | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 154 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kwok, Alison G., and Chungyoon Chun. "Thermal comfort in Japanese schools."ÃŠSolar EnergyÃŠ74.3 (2003): 245-252. | Kwok Alison | 2000 | Autumn | Cfa | Humid subtropical | Tokyo | Japan | Classroom | Naturally Ventilated | NA | NA | 13.67 | Male | 1 | 1 | cooler | 0 | more | 4 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 26.9 | 80.5 | 26.9 | 80.5 | NA | NA | NA | NA | NA | NA | NA | NA | 27.1 | 80.8 | 27.1 | 80.8 | NA | NA | NA | NA | 72.8 | NA | NA | 0.27 | 53.15 | NA | NA | NA | NA | NA | NA | 150 | NA | NA | NA | NA | NA | NA | 18 | 64.4 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 28 | NA | -1.3 | 1 | cooler | NA | more | 4.5 | -1.1 | 32 | 22.2 | 0.57 | 1 | NA | NA | NA | NA | 24.3 | 75.8 | 24.3 | 75.8 | 24.4 | 76 | 24.4 | 76 | NA | NA | NA | NA | 24.2 | 75.5 | 24.2 | 75.5 | 24.4 | 75.9 | 24.4 | 76 | 36.8 | NA | NA | 0.27 | 15.32 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 30 | NA | -1.4 | 1 | cooler | NA | more | 5.2 | -0.1 | 5 | 24.45 | 0.57 | 1.1 | NA | NA | NA | NA | 25.7 | 78.2 | 25.7 | 78.2 | 25.4 | 77.6 | 25.5 | 77.9 | NA | NA | NA | NA | 24.8 | 76.7 | 24.8 | 76.7 | 24.8 | 76.6 | 24.8 | 76.7 | 33.1 | NA | NA | 0.09 | 18.65 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 29 | NA | 0.6 | 0 | cooler | NA | more | 2.5 | -0.4 | 8 | 23.74 | 0.57 | 1.1 | NA | NA | NA | NA | 24.6 | 76.3 | 24.6 | 76.3 | 24.5 | 76.1 | 24.6 | 76.2 | NA | NA | NA | NA | 24 | 75.1 | 24 | 75.1 | 24.2 | 75.6 | 24.2 | 75.6 | 34.9 | NA | NA | 0.06 | 12.48 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 26 | NA | 0.5 | 0 | cooler | NA | more | 2.7 | -0.3 | 7 | 24.49 | 0.57 | 1 | NA | NA | NA | NA | 26.4 | 79.5 | 26.4 | 79.5 | 26.9 | 80.4 | 27.9 | 82.2 | NA | NA | NA | NA | 25.5 | 78 | 25.5 | 78 | 25.1 | 77.2 | 25.2 | 77.3 | 31.7 | NA | NA | 0.13 | 26.46 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 37 | NA | 1.6 | 0 | cooler | NA | more | 2.2 | -0.4 | 9 | 23.9 | 0.57 | 1 | NA | NA | NA | NA | 25 | 77 | 25 | 77 | 25 | 77.1 | 25.1 | 77.1 | NA | NA | NA | NA | 24.7 | 76.4 | 24.7 | 76.4 | 24.6 | 76.3 | 24.7 | 76.4 | 33.3 | NA | NA | 0.07 | 14.71 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 39 | NA | 1.2 | 0 | cooler | NA | more | 2.3 | 0 | 5 | 24.66 | 0.57 | 1.1 | NA | NA | NA | NA | 26.2 | 79.2 | 26.2 | 79.2 | 26.7 | 80.1 | 27.6 | 81.7 | NA | NA | NA | NA | 25.1 | 77.2 | 25.1 | 77.2 | 25 | 76.9 | 25 | 77.1 | 30.8 | NA | NA | 0.08 | 16.07 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 28 | NA | -0.2 | 1 | cooler | NA | more | 2.8 | -0.6 | 11 | 23.41 | 0.57 | 1 | NA | NA | NA | NA | 25.1 | 77.2 | 25.1 | 77.2 | 25.1 | 77.2 | 25 | 77 | NA | NA | NA | NA | 24.2 | 75.6 | 24.2 | 75.6 | 24.3 | 75.8 | 24.3 | 75.8 | 34.2 | NA | NA | 0.07 | 14.04 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 26 | NA | 0 | 1 | cooler | NA | more | 4 | -0.7 | 16 | 23.22 | 0.54 | 1.1 | NA | NA | NA | NA | 24.3 | 75.7 | 24.3 | 75.7 | 24 | 75.2 | 24.2 | 75.5 | NA | NA | NA | NA | 24 | 75.3 | 24 | 75.3 | 23.9 | 75 | 24 | 75.2 | 35.3 | NA | NA | 0.13 | 26.22 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 27 | NA | 0 | 1 | cooler | NA | more | 4 | NA | NA | NA | 0.54 | NA | NA | NA | NA | NA | 24.5 | 76.1 | 24.5 | 76.1 | 24 | 75.1 | 24.2 | 75.6 | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | 23.7 | 74.7 | 23.8 | 74.9 | 35 | NA | NA | 0.12 | 22.7 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 29 | NA | 2 | 0 | cooler | NA | more | 3 | -0.7 | 14 | 23.36 | 0.61 | 1.1 | NA | NA | NA | NA | 24.3 | 75.7 | 24.3 | 75.7 | 24 | 75.3 | 24.2 | 75.6 | NA | NA | NA | NA | 24.1 | 75.4 | 24.1 | 75.4 | 24 | 75.2 | 24.1 | 75.3 | 35 | NA | NA | 0.17 | 34.02 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 22 | NA | 2 | 0 | cooler | NA | more | 3 | -0.6 | 13 | 23.55 | 0.61 | 1.1 | NA | NA | NA | NA | 24.5 | 76 | 24.5 | 76 | 23.9 | 75.1 | 24.2 | 75.6 | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | 23.8 | 74.8 | 23.9 | 74.9 | 34.4 | NA | NA | 0.14 | 26.77 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 31 | NA | 2 | 0 | cooler | NA | more | 3 | -0.5 | 11 | 23.76 | 0.57 | 1.1 | NA | NA | NA | NA | 24.4 | 76 | 24.4 | 76 | 24.3 | 75.7 | 24.4 | 76 | NA | NA | NA | NA | 24.4 | 75.9 | 24.4 | 75.9 | 24.2 | 75.6 | 24.3 | 75.8 | 34.1 | NA | NA | 0.13 | 25.38 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 34 | NA | 2 | 0 | cooler | NA | more | 3 | -0.1 | 5 | 24.88 | 0.57 | 1.3 | NA | NA | NA | NA | 24.5 | 76 | 24.5 | 76 | 24.1 | 75.3 | 24.3 | 75.8 | NA | NA | NA | NA | 24.1 | 75.3 | 24.1 | 75.3 | 23.9 | 75 | 24 | 75.2 | 34.1 | NA | NA | 0.12 | 22.68 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 29 | NA | 2 | 0 | cooler | NA | more | 3 | -1 | 25 | 22.41 | 0.54 | 1.1 | NA | NA | NA | NA | 24.1 | 75.4 | 24.1 | 75.4 | 23.9 | 75.1 | 24.1 | 75.3 | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | 23.9 | 75.1 | 24 | 75.2 | 34.8 | NA | NA | 0.21 | 41.98 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 31.7 | 89 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 32 | NA | -1 | 1 | no change | NA | no change | 5 | -0.4 | 8 | 23.73 | 0.57 | 1.1 | NA | NA | NA | NA | 24.2 | 75.5 | 24.2 | 75.5 | 23.9 | 75.1 | 24 | 75.3 | NA | NA | NA | NA | 23.9 | 75 | 23.9 | 75 | 23.7 | 74.7 | 23.8 | 74.8 | 38.7 | NA | NA | 0.09 | 18.07 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 30 | NA | -2 | 1 | warmer | NA | no change | 4.3 | -0.4 | 8 | 23.8 | 0.61 | 1.1 | NA | NA | NA | NA | 23.8 | 74.8 | 23.8 | 74.8 | 23.6 | 74.5 | 23.7 | 74.7 | NA | NA | NA | NA | 23.6 | 74.5 | 23.6 | 74.5 | 23.5 | 74.3 | 23.6 | 74.4 | 40 | NA | NA | 0.09 | 17.63 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 30 | NA | -1 | 1 | no change | NA | no change | 5 | NA | NA | NA | 0.61 | NA | NA | NA | NA | NA | 24.3 | 75.7 | 24.3 | 75.7 | 24 | 75.2 | 24.1 | 75.5 | NA | NA | NA | NA | 24 | 75.2 | 24 | 75.2 | 23.8 | 74.9 | 23.9 | 75 | 38.3 | NA | NA | 0.1 | 19.32 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 27 | NA | -2.5 | 1 | warmer | NA | no change | 2.4 | NA | NA | NA | 0.57 | NA | NA | NA | NA | NA | 23.5 | 74.3 | 23.5 | 74.3 | 23.3 | 73.9 | 23.4 | 74.2 | NA | NA | NA | NA | 23.3 | 73.9 | 23.3 | 73.9 | 23.2 | 73.7 | 23.2 | 73.8 | 41.2 | NA | NA | 0.09 | 18.6 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 24 | NA | 0 | 1 | cooler | NA | no change | 4.2 | NA | NA | NA | 0.57 | NA | NA | NA | NA | NA | 23.9 | 75.1 | 23.9 | 75.1 | 23.7 | 74.7 | 23.8 | 74.9 | NA | NA | NA | NA | 23.7 | 74.7 | 23.7 | 74.7 | 23.6 | 74.4 | 23.6 | 74.5 | 39.4 | NA | NA | 0.1 | 19.22 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | NA | NA | 0 | 1 | cooler | NA | more | 4.2 | NA | NA | NA | 0.57 | NA | NA | NA | NA | NA | 24.4 | 75.9 | 24.4 | 75.9 | 24.1 | 75.5 | 24.3 | 75.7 | NA | NA | NA | NA | 24.1 | 75.4 | 24.1 | 75.4 | 24 | 75.1 | 24 | 75.2 | 37.9 | NA | NA | 0.1 | 19.49 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | 0 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 34 | NA | -2 | 0 | warmer | NA | less | 2 | -0.3 | 6 | 24.31 | 0.79 | 1.1 | NA | NA | NA | NA | 23.8 | 74.9 | 23.8 | 74.9 | 23.9 | 75 | 23.9 | 75 | NA | NA | NA | NA | 24.2 | 75.5 | 24.2 | 75.5 | 24.1 | 75.4 | 24.1 | 75.4 | 43.8 | NA | NA | 0.32 | 63.64 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 51 | NA | -0.5 | 1 | warmer | NA | no change | 4 | -1.2 | 38 | 22.03 | 0.54 | 1 | NA | NA | NA | NA | 23.7 | 74.7 | 23.7 | 74.7 | 23.8 | 74.8 | 23.8 | 74.9 | NA | NA | NA | NA | 24.1 | 75.4 | 24.1 | 75.4 | 24.1 | 75.4 | 24.1 | 75.4 | 43.7 | NA | NA | 0.31 | 60.34 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 30 | NA | -0.5 | 1 | no change | NA | less | 4 | -0.3 | 7 | 24.64 | 0.79 | 1 | NA | NA | NA | NA | 23.9 | 75.1 | 23.9 | 75.1 | 24 | 75.2 | 24 | 75.3 | NA | NA | NA | NA | 24.6 | 76.2 | 24.6 | 76.2 | 24.4 | 75.9 | 24.4 | 75.8 | 40.4 | NA | NA | 0.24 | 47.97 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 50 | NA | -1 | 0 | warmer | NA | no change | 2 | 0.3 | 7 | 25.38 | 0.57 | 1.7 | NA | NA | NA | NA | 23.8 | 74.9 | 23.8 | 74.9 | 23.9 | 75 | 23.9 | 75 | NA | NA | NA | NA | 24.1 | 75.4 | 24.1 | 75.4 | 24.1 | 75.4 | 24.1 | 75.4 | 43.6 | NA | NA | 0.35 | 69.28 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 32.8 | 91 | Database 2
Kim, H. 2012. Methodology for rating a building's overall performance based on the ASHRAE/CIBSE/USGBC Performance Measurement Protocols for Commercial Buildings. Ph.D. dissertation, Department of Architecture, Texas A&M University. | Hyojin Kim | 2011 | Summer | Cfa | Humid subtropical | Texas | USA | Office | Air Conditioned | NA | NA | 46 | NA | 0 | 1 | no change | NA | less | 4.5 | -1.2 | 37 | 22.05 | 0.57 | 1 | NA | NA | NA | NA | 23.8 | 74.9 | 23.8 | 74.9 | 23.9 | 75.1 | 23.9 | 75 | NA | NA | NA | NA | 24.1 | 75.5 | 24.1 | 75.5 | 24.1 | 75.4 | 24.1 | 75.4 | 35.8 | NA | NA | 0.32 | 63.83 | NA | NA | NA | NA | NA | NA | NA | NA | 1 | 1 | NA | NA | NA | 32.8 | 91 | Database 2